pH of Households

Introduction:

This lab investigates the pH of household substances; there are three variations. In the first, litmus paper is used to determine if the substance is an acid or a base. Red litmus paper turns blue in a base; blue litmus paper turns red in an acid. In the second method, a pH meter is used to determine a numerical value for the pH of the substance. Acids have a low pH, and bases have a high pH; neutral substances have a pH of 7. In the third method, the 39 drop scale is used. For this method, drops of two solutions, called A and B, are mixed together in different proportions so that the total number of drops equals 39. Each of these mixtures is a different pH. Universal Indicator is added to each mixture to make a reference for the household substances, which will also be tested with Universal Indicator. You may do all the methods, or select one or two of them, depending on time constraints and the availability of materials.

Purpose:

The purpose of this experiment is to determine the acidic or basic nature of common household substances.

Equipment/Materials:

Wellplates 
Droppers 
Universal Indicator 
Litmus Paper - Red and Blue Solution A

SolutionB Ammonia 
Aspirin in water

Baking powder in water Baking soda in water 
DI water

Drain Cleaner Peroxide Colorless pop Rubbing Alcohol Vinegar

Safety:

Wear safety glasses
Avoid contact of the solutions with skin and clothing.

Procedure

Method l: Litmus Paper

1. Using droppers, place a small amount of each chemical in a well of the wellplate. Be sure to label on the drawing where each chemical is located.

Note: Be careful not to contaminate the droppers by using them in more than one solution!

2. Dip the tip of a piece of red litmus paper into the first sample. Record your observations on the data table.

3. Repeat for each sample.

4. Repeat steps 2 and 3 with blue litmus paper.

Method 2: pH Meter

1. Plug in the pH meter and allow it to warm up for about 10 minutes.

2. The temperature knob should be set between 20 and 25°C.

3. Remove the cap from the electrode, and rinse the electrode with DI water. Blot the end with a Kimwipe.

4. Place the electrode in the pH 7 buffer, turn the knob to pH, and adjust the pH to 7.00 with the standardization knob.

5. Place the instrument on standby. Rinse and blot the electrode.

6. Place the electrode in pH 4.00 buffer, turn the knob to pH, and adjust the pH to 4.00 with the slope knob.

7. Place the instrument on standby. Rinse and blot the electrode.

8. Place the electrode into the bottle of the first sample. Turn the knob to pH and record the reading in the data table.

9. Place the instrument on standby. Rinse and blot the electrode.

10. Repeat steps 8 and 9 for each sample.

11. When completed rinse the electrode, but do not blot. Replace the cap on the electrode.

Method 3: 39 Drops

1. Mix the appropriate number of drops of solutions A and B in 11 different wells in the wellplate. Each different mixture will be a different pH. Be sure to label on the drawing where each mixture will be placed.

Note: Be careful not to contaminate the droppers by using them in more than one solution!

| PH units +/- 0.1 H units | # Drops of Solution A | # Drops of Solution B |
| --- | --- | --- |
| 2 | 39 | 0 |
| 3 | 35 | 4 |
| 4 | 31 | 8 |
| 5 | 27 | 12 |
| 6 | 24 | 16 |
| 7 | 20 | 19 |
| 8 | 17 | 22 |
| 9 | 14 | 25 |
| 10 | 11 | 28 |
| 11 | 9 | 30 |
| 12 | 3 | 36 |

2. Using droppers, place a small amount of each chemical in a well of the wellplate. Be sure to label on the drawing where each chemical is located.

Note: Be careful not to contaminate the droppers by using them in more than one solution!

3. Place 1 drop of Universal Indicator in each of the reference wells and each of the sample wells.

4. Compare the sample wells with the reference wells and record the appropriate pH for all of the samples on the data table.

Data: Method 1

| Sample | pH | Acid/Base/Neutral |
| --- | --- | --- |

| Sample | Red | Red Litmus | Blue | Blue Litmus | Acid/Base/Neutral |
| --- | --- | --- | --- | --- | --- |

| Sample | pH | Acid/Base/Neutral |
| --- | --- | --- |

pH of Households

Teacher Notes

Lab Time:

Method 1: 20 minutes Method 2: 20 minutes Method 3:  30 minutes

Preparations:

•	Household samples that are not liquids should be dissolved in water; the concentration need not be specifically measured. Just put water into vials and add a scoop of the household substance.

•	Solution A - 5.96g anhydrous boric acid and 9.6g citric acid monohydrate diluted to 1 L.

•	Solution B - 37.6g trisodium phosphate dodecahydrate diluted to 1L.

Considerations:

This lab is very useful especially in applied level classes because it tests chemicals that the students are familiar with. Method I is very simple and utilizes litmus paper, which is commonly found in high schools. Method 2 is also simple, but requires access to pH meters. Method 3 is not difficult, but it does take more time. Students usually like this method because the Universal Indicator makes the solutions turn pretty colors.

Science in Motion

Materials List

Lab: pH Households

Number of Lab Groups Prepared:__________________________

| Consumables | Delivered |
| --- | --- |
| Droppers |  |
| Universal Indicator |  |
| Litmus Paper - Red and Blue |  |
| Solution A |  |
| Solution B |  |
| Ammonia |  |
| Aspirin in water |  |
| Baking powder in water |  |
| Baking soda in water |  |
| DI water |  |
| Drain Cleaner |  |
| Peroxide |  |
| Colorless Pop |  |
| Rubbing Alcohol | _ |
| Vinegar |  |

| Equipment per lab group | Delivered | Returned |
| --- | --- | --- |
| Wellplates |  |  |